## Resource Cost Estimates
TVA Draft 2025 Integrated Resource Plan
Resource Cost and ITC Estimates (Scenario 1 - Reference without Greenhouse Gas Rule)
NOTES:
- Resource costs incorporate the impacts of applicable tax credits, inflation assumptions, and technology maturity over time, which vary by scenaro.
- The primary source for utility-scale resource costs was the moderate case from NREL's Annual Technology Baseline, except for the Carbon Regulation Plus Growth scenario that assumed the advanced case.
- Small modular reactor (SMR) costs are informed by direct experience exploring designs for the Clinch River Nuclear site; TVA used refined SMR cost estimates that are higher than NREL moderate case costs.
- Solar and wind costs reflect recent proposals in the short term, then blend into NREL moderate case costs.
- Hydro expansion costs are based on internal estimates specific to opportunities on the TVA system.
- Distributed generation adoption was modeled based on consumer payback, and demand-side EE and DR resources were modeled based on TVA program experience and the recent potential study (see Vol. 1, Appendices F and G).
Nominal Overnight Cost before Investment Tax Credit applied ($/kW) | [18 empty] | Investment Tax Credit Estimate (%) | [18 empty] | Nominal Overnight Cost with Investment Tax Credit applied ($/kW)
Year | APWR | Light Water SMR | Gen IV SMR | Aero CT 20x | Frame CT 4x | RICE 24x | CC 2x1x1 | CC 2x1x1 w/ CCS | Solar | Wind MISO | Wind SE High Hub | Wind HVDC | Battery | Battery Adv Chem | Pump Storage | Coal | Coal CCS | Hydro Uprate | Year | APWR | Light Water SMR | Gen IV SMR | Aero CT 20x | Frame CT 4x | RICE 24x | CC 2x1x1 | CC 2x1x1 w/ CCS | Solar | Wind MISO | Wind SE High Hub | Wind HVDC | Battery | Battery Adv Chem | Pump Storage | Coal | Coal CCS | Hydro Uprate | Year | APWR | Light Water SMR | Gen IV SMR | Aero CT 20x | Frame CT 4x | RICE 24x | CC 2x1x1 | CC 2x1x1 w/ CCS | Solar | Wind MISO | Wind SE High Hub | Wind HVDC | Battery | Battery Adv Chem | Pump Storage | Coal | Coal CCS | Hydro Uprate
2024 | [18 empty] | 2024 | [18 empty] | 2024
2025 | [18 empty] | 2025 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2025
2026 | [17 empty] | 967.9073 | 2026 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2026 | [17 empty] | 967.9073
2027 | [8 empty] | 1353.5959 | [8 empty] | 981.3874 | 2027 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2027 | [8 empty] | 812.1576 | [8 empty] | 981.3874
2028 | [8 empty] | 1329.7272 | [8 empty] | 1000.327 | 2028 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2028 | [8 empty] | 797.8363 | [8 empty] | 1000.327
2029 |  |  |  | 1777.323 | 805.7466 | 1393.2455 | 1485.3572 |  | 1304.8468 | 1695.8799 | 2423.9237 | 3433.1574 | 1564.7743 | 3362.7751 |  | 3438.8686 |  | 1020.3369 | 2029 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2029 |  |  |  | 1777.323 | 805.7466 | 1393.2455 | 1485.3572 |  | 782.9081 | 1017.5279 | 1454.3542 | 3433.1574 | 938.8646 | 2017.665 |  | 3438.8686 |  | 1020.3369
2030 |  |  |  | 1811.8806 | 821.4133 | 1420.3352 | 1514.2378 |  | 1278.1345 | 1695.6172 | 2403.353 | 3507.3893 | 1535.2364 | 3275.9346 |  | 3484.4403 |  | 1040.1759 | 2030 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2030 |  |  |  | 1811.8806 | 821.4133 | 1420.3352 | 1514.2378 |  | 766.8807 | 1017.3703 | 1442.0118 | 3507.3893 | 921.1418 | 1965.5608 |  | 3484.4403 |  | 1040.1759
2031 |  |  |  | 1847.1052 | 837.3823 | 1447.9478 | 1543.676 |  | 1249.8134 | 1713.8985 | 2382.0029 | 3476.2315 | 1540.1267 | 3281.425 |  | 3530.0259 |  | 1060.3978 | 2031 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2031 |  |  |  | 1847.1052 | 837.3823 | 1447.9478 | 1543.676 |  | 749.888 | 1028.3391 | 1429.2017 | 3476.2315 | 924.076 | 1968.855 |  | 3530.0259 |  | 1060.3978
2032 |  |  |  | 1882.8068 | 853.5675 | 1475.9343 | 1573.5128 |  | 1219.7257 | 1730.0661 | 2357.925 | 3441.0929 | 1544.351 | 3285.3392 |  | 3575.5203 |  | 1080.8936 | 2032 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2032 |  |  |  | 1882.8068 | 853.5675 | 1475.9343 | 1573.5128 |  | 731.8354 | 1038.0397 | 1414.755 | 3441.0929 | 926.6106 | 1971.2035 |  | 3575.5203 |  | 1080.8936
2033 |  | 20926.7915 |  | 1920.063 | 870.4576 | 1505.1395 | 1604.6489 | 3078.6721 | 1188.0757 | 1748.2 | 2382.6274 | 3477.1429 | 1548.1955 | 3288.2857 | 2441.875 | 3621.347 | 5569.0211 | 1102.282 | 2033 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2033 |  | 12556.0749 |  | 1920.063 | 870.4576 | 1505.1395 | 1604.6489 | 3078.6721 | 712.8454 | 1048.92 | 1429.5764 | 3477.1429 | 928.9173 | 1972.9714 | 1465.125 | 3621.347 | 5569.0211 | 1102.282
2034 |  | 21352.787 |  | 1959.0401 | 888.1278 | 1535.6937 | 1637.2231 | 3093.7718 | 1155.7223 | 1766.879 | 2409.6712 | 3516.6099 | 1552.8631 | 3292.8126 | 2491.4448 | 3670.655 | 5600.6324 | 1124.6581 | 2034 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2034 |  | 12811.6722 |  | 1959.0401 | 888.1278 | 1535.6937 | 1637.2231 | 3093.7718 | 693.4334 | 1060.1274 | 1445.8027 | 3516.6099 | 931.7179 | 1975.6875 | 1494.8669 | 3670.655 | 5600.6324 | 1124.6581
2035 |  | 20041.7803 |  | 2000.1698 | 906.7739 | 1567.9353 | 1671.5962 | 3109.5625 | 1121.9855 | 1784.7457 | 2436.2677 | 3555.4241 | 1557.5832 | 3297.273 | 2543.7522 | 3721.4637 | 5633.1562 | 1148.2701 | 2035 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2035 |  | 12025.0682 |  | 2000.1698 | 906.7739 | 1567.9353 | 1671.5962 | 3109.5625 | 673.1913 | 1070.8474 | 1461.7606 | 3555.4241 | 934.5499 | 1978.3638 | 1526.2513 | 3721.4637 | 5633.1562 | 1148.2701
2036 |  | 19420.5311 |  | 2042.4887 | 925.9591 | 1601.1091 | 1706.9633 | 3155.0509 | 1126.3234 | 1804.1878 | 2462.833 | 3594.1928 | 1562.1887 | 3301.3063 | 2597.572 | 3759.5713 | 5683.043 | 1172.5648 | 2036 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2036 |  | 11652.3187 |  | 2042.4887 | 925.9591 | 1601.1091 | 1706.9633 | 3155.0509 | 675.794 | 1082.5127 | 1477.6998 | 3594.1928 | 937.3132 | 1980.7838 | 1558.5432 | 3759.5713 | 5683.043 | 1172.5648
2037 |  | 19208.3956 |  | 2085.6261 | 945.5154 | 1634.9246 | 1743.0144 | 3200.5775 | 1130.4968 | 1823.3719 | 2489.0473 | 3632.4493 | 1566.51 | 3304.548 | 2652.4329 | 3797.9412 | 5733.38 | 1197.3295 | 2037 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2037 |  | 11525.0374 |  | 2085.6261 | 945.5154 | 1634.9246 | 1743.0144 | 3200.5775 | 678.2981 | 1094.0231 | 1493.4284 | 3632.4493 | 939.906 | 1982.7288 | 1591.4597 | 3797.9412 | 5733.38 | 1197.3295
2038 | 16753.0704 | 20580.3168 |  | 2130.7541 | 965.9741 | 1670.3005 | 1780.7291 | 3246.1702 | 1134.4941 | 1841.5725 | 2518.033 | 3674.7503 | 1570.5288 | 3306.9553 | 2709.8252 | 3836.7107 | 5784.0114 | 1223.2368 | 2038 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2038 | 10051.8422 | 12348.1901 |  | 2130.7541 | 965.9741 | 1670.3005 | 1780.7291 | 3246.1702 | 680.6965 | 1104.9435 | 1510.8198 | 3674.7503 | 942.3173 | 1984.1732 | 1625.8951 | 3836.7107 | 5784.0114 | 1223.2368
2039 | 17137.5268 | 19841.3667 |  | 2177.7025 | 987.258 | 1707.1034 | 1819.9652 | 3295.001 | 1138.5264 | 1862.0276 | 2546.074 | 3715.6725 | 1574.5349 | 3309.132 | 2769.5326 | 3876.7882 | 5836.0645 | 1250.1892 | 2039 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2039 | 10282.5161 | 11904.82 |  | 2177.7025 | 987.258 | 1707.1034 | 1819.9652 | 3295.001 | 683.1158 | 1117.2166 | 1527.6444 | 3715.6725 | 944.721 | 1985.4792 | 1661.7196 | 3876.7882 | 5836.0645 | 1250.1892
2040 | 17547.5684 | 19821.5468 |  | 2227.1569 | 1009.6781 | 1745.8708 | 1861.2956 | 3346.4799 | 1142.3591 | 1883.6606 | 2575.7288 | 3758.9499 | 1578.2011 | 3310.3832 | 2832.4272 | 3917.1254 | 5888.398 | 1278.5804 | 2040 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2040 | 10528.541 | 11892.9281 |  | 2227.1569 | 1009.6781 | 1745.8708 | 1861.2956 | 3346.4799 | 685.4155 | 1130.1964 | 1545.4373 | 3758.9499 | 946.9207 | 1986.2299 | 1699.4563 | 3917.1254 | 5888.398 | 1278.5804
2041 | 17980.067 | 19890.6307 | 12760.4005 | 2278.76 | 1033.0723 | 1786.3225 | 1904.4217 | 3400.0533 | 1145.5298 | 1904.2803 | 2606.5417 | 3803.9174 | 1580.8867 | 3309.3627 | 2898.0544 | 3956.4742 | 5938.5068 | 1308.205 | 2041 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2041 | 10788.0402 | 11934.3784 | 7656.2403 | 2278.76 | 1033.0723 | 1786.3225 | 1904.4217 | 3400.0533 | 687.3179 | 1142.5682 | 1563.925 | 3803.9174 | 948.532 | 1985.6176 | 1738.8326 | 3956.4742 | 5938.5068 | 1308.205
2042 | 18443.1998 | 17790.3772 | 13089.0844 | 2333.1283 | 1057.7201 | 1828.9419 | 1949.8588 | 3456.667 | 1148.471 | 1928.065 | 2641.1068 | 3854.3608 | 1583.1874 | 3307.3183 | 2967.1983 | 3996.0366 | 5988.9717 | 1339.4171 | 2042 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2042 | 11065.9199 | 10674.2263 | 7853.4506 | 2333.1283 | 1057.7201 | 1828.9419 | 1949.8588 | 3456.667 | 689.0826 | 1156.839 | 1584.6641 | 3854.3608 | 949.9125 | 1984.391 | 1780.319 | 3996.0366 | 5988.9717 | 1339.4171
2043 | 18910.3615 | 18241.0018 | 13420.6277 | 2389.2944 | 1083.1829 | 1872.9706 | 1996.7983 | 3514.8928 | 1151.1683 | 1952.3762 | 2674.5413 | 3903.1542 | 1585.081 | 3304.1984 | 3038.6285 | 4036.1268 | 6039.6161 | 1371.6613 | 2043 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2043 | 11346.2169 | 10944.6011 | 8052.3766 | 2389.2944 | 1083.1829 | 1872.9706 | 1996.7983 | 3514.8928 | 690.701 | 1171.4257 | 1604.7248 | 3903.1542 | 951.0486 | 1982.5191 | 1823.1771 | 4036.1268 | 6039.6161 | 1371.6613
2044 | 19378.1693 | 18692.2509 | 13752.6295 | 2446.5967 | 1109.1608 | 1917.8898 | 2044.6873 | 3571.7122 | 1153.8326 | 1974.6544 | 2707.9266 | 3951.8759 | 1586.8548 | 3300.5962 | 3111.5037 | 4077.2115 | 6091.6102 | 1404.5577 | 2044 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2044 | 11626.9016 | 11215.3505 | 8251.5777 | 2446.5967 | 1109.1608 | 1917.8898 | 2044.6873 | 3571.7122 | 692.2996 | 1184.7926 | 1624.756 | 3951.8759 | 952.1129 | 1980.3577 | 1866.9022 | 4077.2115 | 6091.6102 | 1404.5577
2045 | 19852.7091 | 19149.993 | 14089.409 | 2504.0544 | 1135.2092 | 1962.931 | 2092.7063 | 3629.6932 | 1155.9965 | 1998.0348 | 2740.162 | 3998.9194 | 1587.8628 | 3295.1617 | 3184.5766 | 4118.0274 | 6142.5526 | 1437.5434 | 2045 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2045 | 11911.6255 | 11489.9958 | 8453.6454 | 2504.0544 | 1135.2092 | 1962.931 | 2092.7063 | 3629.6932 | 693.5979 | 1198.8209 | 1644.0972 | 3998.9194 | 952.7177 | 1977.097 | 1910.7459 | 4118.0274 | 6142.5526 | 1437.5434
2046 | 20325.7189 | 19606.2614 | 14425.1027 | 2561.148 | 1161.0925 | 2007.6867 | 2140.421 | 3686.0241 | 1157.4152 | 2020.1117 | 2772.7023 | 4046.4078 | 1587.7675 | 3287.1963 | 3257.1864 | 4157.3885 | 6191.1735 | 1470.3201 | 2046 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2046 | 12195.4313 | 11763.7568 | 8655.0616 | 2561.148 | 1161.0925 | 2007.6867 | 2140.421 | 3686.0241 | 694.4491 | 1212.067 | 1663.6214 | 4046.4078 | 952.6605 | 1972.3178 | 1954.3118 | 4157.3885 | 6191.1735 | 1470.3201
2047 | 20809.9657 | 20073.3667 | 14768.7712 | 2617.9027 | 1186.8221 | 2052.1768 | 2187.8525 | 3740.6618 | 1158.2973 | 2040.8658 | 2801.3972 | 4088.2844 | 1586.854 | 3277.2932 | 3329.3653 | 4196.4092 | 6238.4318 | 1502.9022 | 2047 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2047 | 12485.9794 | 12044.02 | 8861.2627 | 2617.9027 | 1186.8221 | 2052.1768 | 2187.8525 | 3740.6618 | 694.9784 | 1224.5195 | 1680.8383 | 4088.2844 | 952.1124 | 1966.3759 | 1997.6192 | 4196.4092 | 6238.4318 | 1502.9022
2048 | 21308.9686 | 20554.707 | 15122.9121 | 2675.5757 | 1212.9681 | 2097.3867 | 2236.0513 | 3795.477 | 1158.8517 | 2059.141 | 2829.6864 | 4129.5688 | 1585.4065 | 3266.039 | 3402.7119 | 4235.5337 | 6285.8557 | 1536.0114 | 2048 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2048 | 12785.3812 | 12332.8242 | 9073.7473 | 2675.5757 | 1212.9681 | 2097.3867 | 2236.0513 | 3795.477 | 695.311 | 1235.4846 | 1697.8118 | 4129.5688 | 951.2439 | 1959.6234 | 2041.6272 | 4235.5337 | 6285.8557 | 1536.0114
2049 | 21829.9526 | 21057.2491 | 15492.6529 | 2735.5873 | 1240.1743 | 2144.4299 | 2286.2047 | 3852.4749 | 1158.9468 | 2080.316 | 2859.0439 | 4172.4124 | 1583.2419 | 3253.0531 | 3479.0328 | 4274.6941 | 6332.6184 | 1570.4633 | 2049 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2049 | 13097.9716 | 12634.3495 | 9295.5917 | 2735.5873 | 1240.1743 | 2144.4299 | 2286.2047 | 3852.4749 | 695.3681 | 1248.1896 | 1715.4263 | 4172.4124 | 949.9451 | 1951.8319 | 2087.4197 | 4274.6941 | 6332.6184 | 1570.4633
2050 | 22354.3026 | 21563.0386 | 15864.7825 | 2797.8738 | 1268.4117 | 2193.2563 | 2338.2592 | 3911.4039 | 1158.5634 | 2102.1003 | 2891.5254 | 4219.8151 | 1580.3315 | 3238.2763 | 3558.2467 | 4313.4998 | 6378.673 | 1606.2211 | 2050 | 40% | 40% | 40% | [5 empty] | 40% | 40% | 40% |  | 40% | 40% | 40% |  |  |  | 2050 | 13412.5815 | 12937.8232 | 9518.8695 | 2797.8738 | 1268.4117 | 2193.2563 | 2338.2592 | 3911.4039 | 695.138 | 1261.2602 | 1734.9153 | 4219.8151 | 948.1989 | 1942.9658 | 2134.948 | 4313.4998 | 6378.673 | 1606.2211

## Inflation (hidden)
| GDP | Handy-Whitman Index — Total Other Production Plant | Handy-Whitman Index — Total Nuclear Production Plant |  | Hydro ($/kW) | Nuclear BWRX A1 Capex | Nuclear BWRX A2 Capex | Nuclear BWRX A3 Capex | Nuclear BWRX A4 Capex | Nuclear BWRX F1 Capex | Nuclear BWRX F2 Capex | Nuclear BWRX F3 Capex | Nuclear BWRX F4 Capex | BWR SMR Nth | 20 x LM6000PF+ Aeros | 4 x 7F.05 CTs | 2x 1x1 CC 7HA.03 Dry Cooling | 24 x Wartsilia 18V50DF |  | AP1000 |  | Hydro Uprate |  | AP1000 | BWR SMR F1 | BWR SMR F2 | BWR SMR F3 | BWR SMR F4 | BWR SMR A1 | BWR SMR A2 | BWR SMR A3 | BWR SMR A4 | BWR SMR Nth | BWR SMR (old) | BWR SMR (average) | Natrium SMR | Aero CT 20x | Frame CT 4x | RICE 24x | CC 2x1x1 | CC 2x1x1 w/ CCS | Solar | Wind MISO | Wind SE High Hub | Wind HVDC | Battery | Battery Adv Chem | Pump Storage | Coal | Coal CCS | Hydro Uprate
2019 | 0.017936 | 0.044432 | 0.047771 | [11 empty] | 1264.9967 | 573.4843 | 1057.1921 | 991.6323
2020 | 0.013052 | 0.048845 | 0.015578 | [11 empty] | 1326.7849 | 601.4959 | 1108.8302 | 1040.0681
2021 | 0.044918 | 0.065098 | 0.10213 |  |  | 4526304 | 4005473.25 | 3954355 | 3818211.25 | 5115492 | 4289728.5 | 3983609.5 | 3885133.25 |  | 1413.1555 | 640.6518 | 1181.0124 | 1107.7741
2022 | 0.070053 | 0.10343 | 0.014936 | 890.8568 | 890.8568 | [9 empty] | 1559.3211 | 706.9158 | 1303.167 | 1222.3535
2023 | 0.038075 | 0.098097 | 0.0064642 | 983 | 983 | [9 empty] | 1712.286 | 776.2622 | 1431.004 | 1342.2629 |  |  | 1150 |  |  | 12789.6924 | 17756.6663 | [7 empty] | 12336.9829 |  |  | 9076.8069 | 1712.286 | 776.2622 | 1342.2629 | 1431.004 | 3028.756 | 1355.8202 | 1694.7399 | 2459.5243 | 3307.5289 | 1507.515 | 3239.7221 | 2177.6308 | 3313.0311 | 4966.377 | 983
2024 | 0.024238 | -0.041219 | 0.010837 |  | 942.4813 | 15881.7684 | 14054.2921 | 13874.9298 | 13397.2325 | 17949.0947 | 15051.6789 | 13977.5772 | 13632.0465 | 12470.6781 | 1641.7066 | 744.2652 | 1372.0189 | 1286.9356 | 14867538 | 14867538 | 12928.2939 | 942.4813 | 9175.172 | 12928.2939 | 17949.0947 | [7 empty] | 12470.6785 |  |  | 9175.172 | 1641.7066 | 744.2652 | 1286.9356 | 1372.0189 | 3016.5714 | 1299.9341 | 1624.8838 | 2358.1442 | 3171.1946 | 1445.3762 | 3106.1827 | 2087.8702 | 3176.47 | 4761.666 | 942.4813 | 3176.47
2025 | 0.019886 | 0.018724 | 0.0028087 |  | 960.1287 | 15926.3761 | 14093.7669 | 13913.9008 | 13434.8617 | 17999.509 | 15093.9551 | 14016.8365 | 13670.3353 | 12505.7044 | 1672.4466 | 758.2011 | 1397.7091 | 1311.0327 |  | 14909296.958 | 12964.6061 | 960.1287 | 9200.9426 | 12964.6061 | 17999.509 | [7 empty] | 12505.7053 |  |  | 9200.9426 | 1672.4466 | 758.2011 | 1311.0327 | 1397.7091 | 2969.1721 | 1324.2746 | 1655.3088 | 2402.299 | 3230.5733 | 1472.4399 | 3164.3441 | 2126.9643 | 3235.9474 | 4850.8253 | 960.1287 | 3235.9474
2026 | 0.019303 | 0.0081016 | 0.015447 |  | 967.9073 | 16172.3865 | 14311.4695 | 14128.8251 | 13642.3864 | 18277.5425 | 15327.1073 | 14233.3508 | 13881.4972 | 12698.8772 | 1685.9961 | 764.3437 | 1409.0328 | 1321.6542 |  | 15139596.8293 | 13164.8668 | 967.9073 | 9343.0671 | 13164.8668 | 18277.5425 | [7 empty] | 12698.8775 |  |  | 9343.0671 | 1685.9961 | 764.3437 | 1321.6542 | 1409.0328 | 2968.6455 | 1335.0034 | 1668.7195 | 2421.7616 | 3256.7462 | 1484.3691 | 3189.9804 | 2144.1962 | 3262.1639 | 4890.1249 | 967.9073 | 3262.1639
2027 | 0.018681 | 0.013927 | 0.021566 |  | 981.3874 | 16521.1658 | 14620.1156 | 14433.5322 | 13936.6028 | 18671.7223 | 15657.657 | 14540.3121 | 14180.8704 | 12972.7465 | 1709.477 | 774.9887 | 1428.6564 | 1340.0609 |  | 15466102.6146 | 13448.7849 | 981.3874 | 9544.5629 | 13448.7849 | 18671.7223 | [7 empty] | 12972.7459 |  |  | 9544.5629 | 1709.477 | 774.9887 | 1340.0609 | 1428.6564 | 2979.8039 | 1353.5959 | 1691.9597 | 2455.4894 | 3302.1028 | 1505.0419 | 3234.4072 | 2174.0583 | 3307.596 | 4958.2296 | 981.3874 | 3307.596
2028 | 0.019037 | 0.019299 | 0.019128 |  | 1000.327 | 16837.1785 | 14899.7655 | 14709.6132 | 14203.1786 | 19028.8703 | 15957.1528 | 14818.4356 | 14452.1185 | 13220.886 | 1742.4679 | 789.9451 | 1456.2278 | 1365.9225 |  | 15761934.3339 | 13706.0299 | 1000.327 | 9727.1289 | 13706.0299 | 19028.8703 | [7 empty] | 13220.8853 |  |  | 9727.1289 | 1742.4679 | 789.9451 | 1365.9225 | 1456.2278 | 2998.7524 | 1329.7272 | 1693.2671 | 2440.1718 | 3365.8296 | 1534.0874 | 3296.8275 | 2216.0151 | 3371.4287 | 5053.9176 | 1000.327 | 3371.4287
2029 | 0.019284 | 0.020003 | 0.019978 |  | 1020.3369 | 17173.5528 | 15197.434 | 15003.4829 | 14486.9308 | 19409.0304 | 16275.9459 | 15114.4793 | 14740.844 | 13485.0132 | 1777.323 | 805.7466 | 1485.3572 | 1393.2455 |  | 16076827.3752 | 13979.8499 | 1020.3369 | 9921.4582 | 13979.8499 | 19409.0304 | [7 empty] | 13485.0131 |  |  | 9921.4582 | 1777.323 | 805.7466 | 1393.2455 | 1485.3572 | 3018.1603 | 1304.8468 | 1695.8799 | 2423.9237 | 3433.1574 | 1564.7743 | 3362.7751 | 2260.3428 | 3438.8686 | 5155.0128 | 1020.3369 | 3438.8686
2030 | 0.018993 | 0.019444 | 0.019555 |  | 1040.1759 | 17509.3842 | 15494.6221 | 15296.8782 | 14770.2248 | 19788.5769 | 16594.2244 | 15410.0452 | 15029.1034 | 13748.714 | 1811.8806 | 821.4133 | 1514.2378 | 1420.3352 |  | 16391212.1147 | 14253.2279 | 1040.1759 | 10115.4738 | 14253.2279 | 19788.5769 | [7 empty] | 13748.7145 |  |  | 10115.4738 | 1811.8806 | 821.4133 | 1420.3352 | 1514.2378 | 3034.1998 | 1278.1345 | 1695.6172 | 2403.353 | 3507.3893 | 1535.2364 | 3275.9346 | 2304.292 | 3484.4403 | 5255.2448 | 1040.1759
2031 | 0.018916 | 0.019441 | 0.018819 |  | 1060.3978 | 17838.8878 | 15786.2105 | 15584.7453 | 15048.181 | 20160.9719 | 16906.5059 | 15700.042 | 15311.9314 | 14007.4474 | 1847.1052 | 837.3823 | 1543.676 | 1447.9478 |  | 16699673.1817 | 14521.4549 | 1060.3978 | 10305.8337 | 14521.4549 | 20160.9719 | [7 empty] | 14007.4473 |  |  | 10305.8337 | 1847.1052 | 837.3823 | 1447.9478 | 1543.676 | 3050.6376 | 1249.8134 | 1713.8985 | 2382.0029 | 3476.2315 | 1540.1267 | 3281.425 | 2349.0895 | 3530.0259 | 5357.4114 | 1060.3978
2032 | 0.01872 | 0.019328 | 0.018588 |  | 1080.8936 | 18170.4798 | 16079.647 | 15874.437 | 15327.8989 | 20535.7271 | 17220.7666 | 15991.8768 | 15596.5519 | 14267.8202 | 1882.8068 | 853.5675 | 1573.5128 | 1475.9343 |  | 17010089.2562 | 14791.382 | 1080.8936 | 10497.4001 | 14791.382 | 20535.7271 | [7 empty] | 14267.8198 |  |  | 10497.4001 | 1882.8068 | 853.5675 | 1475.9343 | 1573.5128 | 3065.3821 | 1219.7257 | 1730.0661 | 2357.925 | 3441.0929 | 1544.351 | 3285.3392 | 2394.4937 | 3575.5203 | 5460.9617 | 1080.8936
2033 | 0.018681 | 0.019788 | 0.019043 |  | 1102.282 | 18516.5024 | 16385.8537 | 16176.7358 | 15619.79 | 20926.7915 | 17548.7038 | 16296.412 | 15893.5589 | 14539.5237 | 1920.063 | 870.4576 | 1604.6489 | 1505.1395 |  | 17334014.4317 | 15073.056 | 1102.282 | 10697.3033 | 15073.056 | 20926.7915 | [7 empty] | 14539.5237 | 20926.7915 | 20926.7915 | 10697.3033 | 1920.063 | 870.4576 | 1505.1395 | 1604.6489 | 3078.6721 | 1188.0757 | 1748.2 | 2382.6274 | 3477.1429 | 1548.1955 | 3288.2857 | 2441.875 | 3621.347 | 5569.0211 | 1102.282
2034 | 0.019543 | 0.0203 | 0.020356 |  | 1124.6581 | 18893.433 | 16719.4118 | 16506.037 | 15937.7537 | 21352.787 | 17905.9334 | 16628.1494 | 16217.0956 | 14835.4965 | 1959.0401 | 888.1278 | 1637.2231 | 1535.6937 |  | 17686873.7167 | 15379.8902 | 1124.6581 | 10915.0626 | 15379.8902 | 21352.787 | [7 empty] | 14835.497 | 21352.787 | 21352.787 | 10915.0626 | 1959.0401 | 888.1278 | 1535.6937 | 1637.2231 | 3093.7718 | 1155.7223 | 1766.879 | 2409.6712 | 3516.6099 | 1552.8631 | 3292.8126 | 2491.4448 | 3670.655 | 5600.6324 | 1124.6581
2035 | 0.019816 | 0.020995 | 0.02101 |  | 1148.2701 | 19290.391 | 17070.6928 | 16852.8349 | 16272.6118 | 21801.417 | 18282.1437 | 16977.513 | 16557.8228 | 15147.1965 | 2000.1698 | 906.7739 | 1671.5962 | 1567.9353 |  | 18058481.5226 | 15703.0274 | 1148.2701 | 11144.3922 | 15703.0274 | 21801.417 | 18282.1437 | [6 empty] | 15147.1963 | 18282.1437 | 20041.7803 | 11144.3922 | 2000.1698 | 906.7739 | 1567.9353 | 1671.5962 | 3109.5625 | 1121.9855 | 1784.7457 | 2436.2677 | 3555.4241 | 1557.5832 | 3297.273 | 2543.7522 | 3721.4637 | 5633.1562 | 1148.2701
2036 | 0.019989 | 0.021158 | 0.021039 |  | 1172.5648 | 19696.2456 | 17429.8467 | 17207.4052 | 16614.9747 | 22260.1015 | 18666.7855 | 17334.7064 | 16906.1863 | 15465.8825 | 2042.4887 | 925.9591 | 1706.9633 | 1601.1091 |  | 18438417.6601 | 16033.4067 | 1172.5648 | 11378.8613 | 16033.4067 | 22260.1015 | 18666.7855 | 17334.7064 | [5 empty] | 15465.8813 | 17334.7064 | 19420.5311 | 11378.8613 | 2042.4887 | 925.9591 | 1601.1091 | 1706.9633 | 3155.0509 | 1126.3234 | 1804.1878 | 2462.833 | 3594.1928 | 1562.1887 | 3301.3063 | 2597.572 | 3759.5713 | 5683.043 | 1172.5648
2037 | 0.020103 | 0.02112 | 0.022161 |  | 1197.3295 | 20132.7365 | 17816.1117 | 17588.7407 | 16983.1812 | 22753.4104 | 19080.4625 | 17718.863 | 17280.8464 | 15808.6246 | 2085.6261 | 945.5154 | 1743.0144 | 1634.9246 |  | 18847033.7561 | 16388.725 | 1197.3295 | 11631.0297 | 16388.725 | 22753.4104 | 19080.4625 | 17718.863 | 17280.8464 |  |  |  |  | 15808.6226 | 17280.8464 | 19208.3956 | 11631.0297 | 2085.6261 | 945.5154 | 1634.9246 | 1743.0144 | 3200.5775 | 1130.4968 | 1823.3719 | 2489.0473 | 3632.4493 | 1566.51 | 3304.548 | 2652.4329 | 3797.9412 | 5733.38 | 1197.3295
2038 | 0.020197 | 0.021638 | 0.022231 |  | 1223.2368 | 20580.3168 | 18212.19 | 17979.7642 | 17360.7422 | 23259.2521 | 19504.6491 | 18112.7793 | 17665.0249 | 16160.0737 | 2130.7541 | 965.9741 | 1780.7291 | 1670.3005 |  | 19266030.9413 | 16753.0704 | 1223.2368 | 11889.6046 | 16753.0704 | 23259.2521 | 19504.6491 | 18112.7793 | 17665.0249 | 20580.3168 |  |  |  | 16160.0715 | 20580.3168 | 20580.3168 | 11889.6046 | 2130.7541 | 965.9741 | 1670.3005 | 1780.7291 | 3246.1702 | 1134.4941 | 1841.5725 | 2518.033 | 3674.7503 | 1570.5288 | 3306.9553 | 2709.8252 | 3836.7107 | 5784.0114 | 1223.2368
2039 | 0.020481 | 0.022034 | 0.022948 |  | 1250.1892 | 21052.6025 | 18630.1309 | 18392.3713 | 17759.1438 | 23793.0151 | 19952.25 | 18528.4389 | 18070.4093 | 16530.9211 | 2177.7025 | 987.258 | 1819.9652 | 1707.1034 |  | 19708155.864 | 17137.5268 | 1250.1892 | 12162.4522 | 17137.5268 | 23793.0151 | 19952.25 | 18528.4389 | 18070.4093 | 21052.6025 | 18630.1309 |  |  | 16530.9196 | 18630.1309 | 19841.3667 | 12162.4522 | 2177.7025 | 987.258 | 1707.1034 | 1819.9652 | 3295.001 | 1138.5264 | 1862.0276 | 2546.074 | 3715.6725 | 1574.5349 | 3309.132 | 2769.5326 | 3876.7882 | 5836.0645 | 1250.1892
2040 | 0.02063 | 0.022709 | 0.023927 |  | 1278.5804 | 21556.3182 | 19075.8853 | 18832.437 | 18184.0585 | 24362.2994 | 20429.6381 | 18971.7602 | 18502.7715 | 16926.4474 | 2227.1569 | 1009.6781 | 1861.2956 | 1745.8708 |  | 20179703.6481 | 17547.5684 | 1278.5804 | 12453.4575 | 17547.5684 | 24362.2994 | 20429.6381 | 18971.7602 | 18502.7715 | 21556.3182 | 19075.8853 | 18832.437 |  | 16926.4471 | 18832.437 | 19821.5468 | 12453.4575 | 2227.1569 | 1009.6781 | 1745.8708 | 1861.2956 | 3346.4799 | 1142.3591 | 1883.6606 | 2575.7288 | 3758.9499 | 1578.2011 | 3310.3832 | 2832.4272 | 3917.1254 | 5888.398 | 1278.5804
2041 | 0.020327 | 0.02317 | 0.024647 |  | 1308.205 | 22087.6214 | 19546.0527 | 19296.604 | 18632.2448 | 24962.7622 | 20933.1717 | 19439.3612 | 18958.8132 | 17343.6368 | 2278.76 | 1033.0723 | 1904.4217 | 1786.3225 |  | 20677077.0799 | 17980.067 | 1308.205 |  | 17980.067 | 24962.7622 | 20933.1717 | 19439.3612 | 18958.8132 | 22087.6214 | 19546.0527 | 19296.604 | 18632.2448 | 17343.6368 | 18632.2448 | 19890.6307 | 12760.4005 | 2278.76 | 1033.0723 | 1786.3225 | 1904.4217 | 3400.0533 | 1145.5298 | 1904.2803 | 2606.5417 | 3803.9174 | 1580.8867 | 3309.3627 | 2898.0544 | 3956.4742 | 5938.5068 | 1308.205
2042 | 0.020352 | 0.023859 | 0.025758 |  | 1339.4171 | 22656.557 | 20049.5223 | 19793.6483 | 19112.1765 | 25605.756 | 21472.3709 | 19940.0826 | 19447.1566 | 17790.3772 | 2333.1283 | 1057.7201 | 1949.8588 | 1828.9419 |  | 21209679.7449 | 18443.1998 | 1339.4171 |  | 18443.1998 | 25605.756 | 21472.3709 | 19940.0826 | 19447.1566 | 22656.557 | 20049.5223 | 19793.6483 | 19112.1765 | 17790.3772 | 17790.3772 | 17790.3772 | 13089.0844 | 2333.1283 | 1057.7201 | 1828.9419 | 1949.8588 | 3456.667 | 1148.471 | 1928.065 | 2641.1068 | 3854.3608 | 1583.1874 | 3307.3183 | 2967.1983 | 3996.0366 | 5988.9717 | 1339.4171
2043 | 0.020483 | 0.024073 | 0.02533 |  | 1371.6613 | 23230.4421 | 20557.3718 | 20295.0166 | 19596.2832 | 26254.3436 | 22016.2608 | 20445.1601 | 19939.7484 | 18241.0018 | 2389.2944 | 1083.1829 | 1996.7983 | 1872.9706 |  | 21746915.7775 | 18910.3615 | 1371.6613 |  | 18910.3615 | 26254.3436 | 22016.2608 | 20445.1601 | 19939.7484 | 23230.4421 | 20557.3718 | 20295.0166 | 19596.2832 | 18241.0018 | 18241.0018 | 18241.0018 | 13420.6277 | 2389.2944 | 1083.1829 | 1872.9706 | 1996.7983 | 3514.8928 | 1151.1683 | 1952.3762 | 2674.5413 | 3903.1542 | 1585.081 | 3304.1984 | 3038.6285 | 4036.1268 | 6039.6161 | 1371.6613
2044 | 0.020757 | 0.023983 | 0.024738 |  | 1404.5577 | 23805.1207 | 21065.9236 | 20797.0782 | 20081.0595 | 26903.8281 | 22560.9029 | 20950.9359 | 20433.0213 | 18692.2509 | 2446.5967 | 1109.1608 | 2044.6873 | 1917.8898 |  | 22284894.7129 | 19378.1693 | 1404.5577 |  | 19378.1693 | 26903.8281 | 22560.9029 | 20950.9359 | 20433.0213 | 23805.1207 | 21065.9236 | 20797.0782 | 20081.0595 | 18692.2509 | 18692.2509 | 18692.2509 | 13752.6295 | 2446.5967 | 1109.1608 | 1917.8898 | 2044.6873 | 3571.7122 | 1153.8326 | 1974.6544 | 2707.9266 | 3951.8759 | 1586.8548 | 3300.5962 | 3111.5037 | 4077.2115 | 6091.6102 | 1404.5577
2045 | 0.0207 | 0.023485 | 0.024488 |  | 1437.5434 | 24388.0694 | 21581.7938 | 21306.3648 | 20572.8119 | 27562.659 | 23113.3826 | 21463.9902 | 20933.3927 | 19149.993 | 2504.0544 | 1135.2092 | 2092.7063 | 1962.931 |  | 22830615.4776 | 19852.7091 | 1437.5434 |  | 19852.7091 | 27562.659 | 23113.3826 | 21463.9902 | 20933.3927 | 24388.0694 | 21581.7938 | 21306.3648 | 20572.8119 | 19149.993 | 19149.993 | 19149.993 | 14089.409 | 2504.0544 | 1135.2092 | 1962.931 | 2092.7063 | 3629.6932 | 1155.9965 | 1998.0348 | 2740.162 | 3998.9194 | 1587.8628 | 3295.1617 | 3184.5766 | 4118.0274 | 6142.5526 | 1437.5434
2046 | 0.020388 | 0.0228 | 0.023826 |  | 1470.3201 | 24969.1384 | 22096.0006 | 21814.0093 | 21062.9788 | 28219.3657 | 23664.0811 | 21975.3903 | 21432.1508 | 19606.2614 | 2561.148 | 1161.0925 | 2140.421 | 2007.6867 |  | 23374576.7356 | 20325.7189 | 1470.3201 |  | 20325.7189 | 28219.3657 | 23664.0811 | 21975.3903 | 21432.1508 | 24969.1384 | 22096.0006 | 21814.0093 | 21062.9788 | 19606.2614 | 19606.2614 | 19606.2614 | 14425.1027 | 2561.148 | 1161.0925 | 2007.6867 | 2140.421 | 3686.0241 | 1157.4152 | 2020.1117 | 2772.7023 | 4046.4078 | 1587.7675 | 3287.1963 | 3257.1864 | 4157.3885 | 6191.1735 | 1470.3201
2047 | 0.020283 | 0.02216 | 0.023824 |  | 1502.9022 | 25564.0117 | 22622.4233 | 22333.7136 | 21564.7904 | 28891.6735 | 24227.8622 | 22498.9395 | 21942.7577 | 20073.3667 | 2617.9027 | 1186.8221 | 2187.8525 | 2052.1768 |  | 23931460.5925 | 20809.9657 | 1502.9022 |  | 20809.9657 | 28891.6735 | 24227.8622 | 22498.9395 | 21942.7577 | 25564.0117 | 22622.4233 | 22333.7136 | 21564.7904 | 20073.3667 | 20073.3667 | 20073.3667 | 14768.7712 | 2617.9027 | 1186.8221 | 2052.1768 | 2187.8525 | 3740.6618 | 1158.2973 | 2040.8658 | 2801.3972 | 4088.2844 | 1586.854 | 3277.2932 | 3329.3653 | 4196.4092 | 6238.4318 | 1502.9022
2048 | 0.020402 | 0.02203 | 0.023979 |  | 1536.0114 | 26177.012 | 23164.8871 | 22869.2545 | 22081.8932 | 29584.4679 | 24808.8229 | 23038.4423 | 22468.9238 | 20554.707 | 2675.5757 | 1212.9681 | 2236.0513 | 2097.3867 |  | 24505313.9137 | 21308.9686 | 1536.0114 |  | 21308.9686 | 29584.4679 | 24808.8229 | 23038.4423 | 22468.9238 | 26177.012 | 23164.8871 | 22869.2545 | 22081.8932 | 20554.707 | 20554.707 | 20554.707 | 15122.9121 | 2675.5757 | 1212.9681 | 2097.3867 | 2236.0513 | 3795.477 | 1158.8517 | 2059.141 | 2829.6864 | 4129.5688 | 1585.4065 | 3266.039 | 3402.7119 | 4235.5337 | 6285.8557 | 1536.0114
2049 | 0.02041 | 0.022429 | 0.024449 |  | 1570.4633 | 26817.015 | 23731.2466 | 23428.386 | 22621.7745 | 30307.78 | 25415.375 | 23601.7103 | 23018.2676 | 21057.2491 | 2735.5873 | 1240.1743 | 2286.2047 | 2144.4299 |  | 25104445.4804 | 21829.9526 | 1570.4633 |  | 21829.9526 | 30307.78 | 25415.375 | 23601.7103 | 23018.2676 | 26817.015 | 23731.2466 | 23428.386 | 22621.7745 | 21057.2491 | 21057.2491 | 21057.2491 | 15492.6529 | 2735.5873 | 1240.1743 | 2144.4299 | 2286.2047 | 3852.4749 | 1158.9468 | 2080.316 | 2859.0439 | 4172.4124 | 1583.2419 | 3253.0531 | 3479.0328 | 4274.6941 | 6332.6184 | 1570.4633
2050 | 0.020418 | 0.022769 | 0.02402 |  | 1606.2211 | 27461.153 | 24301.2651 | 23991.13 | 23165.1438 | 31035.7652 | 26025.8459 | 24168.6174 | 23571.1606 | 21563.0386 | 2797.8738 | 1268.4117 | 2338.2592 | 2193.2563 |  | 25707447.9618 | 22354.3026 | 1606.2211 |  | 22354.3026 | 31035.7652 | 26025.8459 | 24168.6174 | 23571.1606 | 27461.153 | 24301.2651 | 23991.13 | 23165.1438 | 21563.0386 | 21563.0386 | 21563.0386 | 15864.7825 | 2797.8738 | 1268.4117 | 2193.2563 | 2338.2592 | 3911.4039 | 1158.5634 | 2102.1003 | 2891.5254 | 4219.8151 | 1580.3315 | 3238.2763 | 3558.2467 | 4313.4998 | 6378.673 | 1606.2211
Nuclear BWRX Cap Costs (000$)
AP1000 (000$) |  | 4587586
MW |  | 500 |  |  |  |  | 4526304 | 4005473.25 | 3954355 | 3818211.25 | 5115492 | 4289728.5 | 3983609.5 | 3885133.25
AP1000 ($) |  | 4587586000
KW |  | 500000
$/KW |  | 9175.172 | $2024
|  | Handy Whitman Nuclear |  | AP1000 ($/kW) |  |  | $ nominal | BWRX | 285
2024-01-01 |  | 1.0837 | 0.010837 | 9175.172 |  | 2024 | 3554143.25 | 12470.6781
2025-01-01 |  | 0.28087 | 0.0028087 | 9200.9426 |  |  | 3564125.75 | 12505.7044
2026-01-01 |  | 1.5447 | 0.015447 | 9343.0671 |  |  | 3619180 | 12698.8772
2027-01-01 |  | 2.1566 | 0.021566 | 9544.5629 |  |  | 3697232.75 | 12972.7465
2028-01-01 |  | 1.9128 | 0.019128 | 9727.1289 |  |  | 3767952.5 | 13220.886
2029-01-01 |  | 1.9978 | 0.019978 | 9921.4582 |  |  | 3843228.75 | 13485.0132
2030-01-01 |  | 1.9555 | 0.019555 | 10115.4738 |  |  | 3918383.5 | 13748.714
2031-01-01 |  | 1.8819 | 0.018819 | 10305.8337 |  |  | 3992122.5 | 14007.4474
2032-01-01 |  | 1.8588 | 0.018588 | 10497.4001 |  |  | 4066328.75 | 14267.8202
2033-01-01 |  | 1.9043 | 0.019043 | 10697.3033 |  |  | 4143764.25 | 14539.5237
2034-01-01 |  | 2.0356 | 0.020356 | 10915.0626 |  |  | 4228116.5 | 14835.4965
2035-01-01 |  | 2.101 | 0.02101 | 11144.3922 |  |  | 4316951 | 15147.1965
2036-01-01 |  | 2.1039 | 0.021039 | 11378.8613 |  |  | 4407776.5 | 15465.8825
2037-01-01 |  | 2.2161 | 0.022161 | 11631.0297 |  |  | 4505458 | 15808.6246
2038-01-01 |  | 2.2231 | 0.022231 | 11889.6046 |  |  | 4605621 | 16160.0737
2039-01-01 |  | 2.2948 | 0.022948 | 12162.4522 |  |  | 4711312.5 | 16530.9211
2040-01-01 |  | 2.3927 | 0.023927 | 12453.4575 |  |  | 4824037.5 | 16926.4474
2041-01-01 |  | 2.4647 | 0.024647 | 12760.4005 |  |  | 4942936.5 | 17343.6368
2042-01-01 |  | 2.5758 | 0.025758 | 13089.0844 |  |  | 5070257.5 | 17790.3772
2043-01-01 |  | 2.533 | 0.02533 | 13420.6277 |  |  | 5198685.5 | 18241.0018
2044-01-01 |  | 2.4738 | 0.024738 | 13752.6295 |  |  | 5327291.5 | 18692.2509
2045-01-01 |  | 2.4488 | 0.024488 | 14089.409 |  |  | 5457748 | 19149.993
2046-01-01 |  | 2.3826 | 0.023826 | 14425.1027 |  |  | 5587784.5 | 19606.2614
2047-01-01 |  | 2.3824 | 0.023824 | 14768.7712 |  |  | 5720909.5 | 20073.3667
2048-01-01 |  | 2.3979 | 0.023979 | 15122.9121 |  |  | 5858091.5 | 20554.707
2049-01-01 |  | 2.4449 | 0.024449 | 15492.6529 |  |  | 6001316 | 21057.2491
2050-01-01 |  | 2.402 | 0.02402 | 15864.7825 |  |  | 6145466 | 21563.0386
[7 empty] | 6293603 | 22082.8175
[7 empty] | 6448932 | 22627.8316
Note on AT1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: From "Gas $perkW Captial Nominal" tab of Combined Capital Cost Workbook Reply: Not the updated values as of 6/13/24 as they aren't available

## FOM (hidden)
Fixed O&M $/kW-year nominal
| AP1000 | BWR SME 1st | BWR SMR Nth | Narirum SMR | Areo CT 20x | Frame CT 4x | RICE 24x | CC 2x1x1 | CC 2x1x1 w/ CCS | Solar | Wind MISO | Wind SE High Hub | Wind HVDC | Battery | Battery Adv Chem | Pump Storage | Coal | Coal CCS | Hydro Uprate
2024 | 127.9 | 147.73 | 147.73 | 272.64 | 21.93 | 5.5 | 41.22 | 42.24 | 94.01 |  | 93.15 | 35 |  | 22.71 | 22.71 | 8.13 | 103.56 | 162.74
2025 | 131.24 | 151.59 | 151.59 | 279.76 | 22.5 | 5.64 | 42.29 | 43.35 | 96.47 |  | 95.58 | 33 |  | 21.7 | 21.7 | 8.91 | 105.5 | 165.79
2026 | 134.98 | 155.91 | 155.91 | 287.74 | 23.14 | 5.8 | 43.5 | 44.58 | 99.22 |  | 98.31 | 33 |  | 20.51 | 20.51 | 9.1 | 106.35 | 167.13
2027 | 138.75 | 160.26 | 160.26 | 295.77 | 23.79 | 5.96 | 44.72 | 45.83 | 101.99 |  | 101.05 | 32 |  | 20.32 | 20.32 | 10.26 | 107.83 | 169.46
2028 | 142.59 | 164.69 | 164.69 | 303.94 | 24.45 | 6.13 | 45.95 | 47.09 | 104.81 |  | 103.85 | 31 |  | 20.15 | 20.15 | 11.64 | 109.92 | 172.73
2029 | 146.48 | 169.19 | 169.19 | 312.25 | 25.11 | 6.3 | 47.21 | 48.38 | 107.67 |  | 106.68 | 30 |  | 20.19 | 20.19 | 12.93 | 112.11 | 176.18
2030 | 150.36 | 173.68 | 173.68 | 320.52 | 25.78 | 6.46 | 48.46 | 49.66 | 110.52 |  | 109.51 | 30 |  | 19.25 | 19.25 | 13.29 | 114.29 | 179.61
2031 | 154.23 | 178.14 | 178.14 | 328.77 | 26.44 | 6.63 | 49.7 | 50.94 | 113.37 |  | 112.33 | 30 |  | 19.13 | 19.13 | 13.64 | 116.52 | 183.1
2032 | 158.19 | 182.72 | 182.72 | 337.21 | 27.12 | 6.8 | 50.98 | 52.25 | 116.28 |  | 115.21 | 30 |  | 19.01 | 19.01 | 13.99 | 118.77 | 186.64
2033 | 162.25 | 187.41 | 187.41 | 345.87 | 27.82 | 6.97 | 52.29 | 53.59 | 119.26 |  | 118.17 | 30 |  | 18.89 | 18.89 | 14.35 | 121.12 | 190.33
2034 | 166.45 | 192.26 | 192.26 | 354.82 | 28.54 | 7.15 | 53.64 | 54.98 | 122.35 |  | 121.23 | 30 |  | 18.76 | 18.76 | 14.72 | 123.58 | 194.2
2035 | 170.82 | 197.31 | 197.31 | 364.14 | 29.29 | 7.34 | 55.05 | 56.42 | 125.56 |  | 124.41 | 30 |  | 18.63 | 18.63 | 15.09 | 126.17 | 198.27
2036 | 175.38 | 202.57 | 202.57 | 373.85 | 30.07 | 7.54 | 56.52 | 57.92 | 128.91 |  | 127.73 | 31 |  | 18.5 | 18.5 | 15.49 | 128.84 | 202.47
2037 | 180.1 | 208.03 | 208.03 | 383.92 | 30.88 | 7.74 | 58.04 | 59.48 | 132.38 |  | 131.17 | 31 |  | 18.37 | 18.37 | 15.9 | 131.56 | 206.75
2038 | 184.94 | 213.62 | 213.62 | 394.23 | 31.71 | 7.95 | 59.6 | 61.08 | 135.94 |  | 134.7 | 31 |  | 18.24 | 18.24 | 16.34 | 134.41 | 211.22
2039 | 189.93 | 219.37 | 219.37 | 404.86 | 32.56 | 8.16 | 61.21 | 62.73 | 139.6 |  | 138.33 | 31 |  | 18.1 | 18.1 | 16.78 | 137.37 | 215.87
2040 | 195.06 | 225.31 | 225.31 | 415.81 | 33.44 | 8.38 | 62.86 | 64.43 | 143.38 |  | 142.07 | 31 |  | 17.95 | 17.95 | 17.24 | 140.49 | 220.77
2041 | 200.34 | 231.4 | 231.4 | 427.06 | 34.35 | 8.61 | 64.56 | 66.17 | 147.26 |  | 145.91 | 32 |  | 17.76 | 17.76 | 17.7 | 143.75 | 225.89
2042 | 205.78 | 237.68 | 237.68 | 438.65 | 35.28 | 8.84 | 66.32 | 67.96 | 151.26 |  | 149.87 | 32 |  | 17.57 | 17.57 | 18.17 | 147.18 | 231.28
2043 | 211.4 | 244.18 | 244.18 | 450.63 | 36.24 | 9.09 | 68.13 | 69.82 | 155.39 |  | 153.97 | 32 |  | 17.35 | 17.35 | 18.65 | 150.72 | 236.85
2044 | 217.24 | 250.92 | 250.92 | 463.08 | 37.25 | 9.34 | 70.01 | 71.75 | 159.68 |  | 158.22 | 32 |  | 17.11 | 17.11 | 19.14 | 154.33 | 242.53
2045 | 223.5 | 258.15 | 258.15 | 476.41 | 38.32 | 9.61 | 72.03 | 73.82 | 164.28 |  | 162.77 | 32 |  | 17.29 | 17.29 | 20.09 | 157.96 | 248.22
2046 | 230.17 | 265.85 | 265.85 | 490.63 | 39.46 | 9.89 | 74.18 | 76.02 | 169.18 |  | 167.63 | 32 |  | 16.45 | 16.45 | 20.11 | 161.56 | 253.88
2047 | 237.1 | 273.86 | 273.86 | 505.41 | 40.65 | 10.19 | 76.41 | 78.31 | 174.28 |  | 172.68 | 33 |  | 16.13 | 16.13 | 20.72 | 165.14 | 259.51
2048 | 244.34 | 282.22 | 282.22 | 520.84 | 41.89 | 10.5 | 78.74 | 80.7 | 179.6 |  | 177.95 | 33 |  | 14.95 | 14.95 | 20.52 | 168.78 | 265.23
2049 | 251.85 | 290.9 | 290.9 | 536.86 | 43.18 | 10.82 | 81.16 | 83.18 | 185.12 |  | 183.43 | 33 |  | 12.63 | 12.63 | 19.24 | 172.56 | 271.17
2050 | 259.65 | 299.91 | 299.91 | 553.49 | 44.52 | 11.16 | 83.68 | 85.76 | 190.85 |  | 189.11 | 34 |  | 13.04 | 13.04 | 19.84 | 176.49 | 277.35

## VOM (hidden)
TVA IRP-WG Confidential Information; Deliberative; Pre-Decisional
Variable O&M $/MWh nominal
| AP1000 | BWR SME 1st | BWR SMR Nth | Narirum SMR | Areo CT 20x | Frame CT 4x | RICE 24x | CC 2x1x1 | CC 2x1x1 w/ CCS | Solar | Wind MISO | Wind SE High Hub | Wind HVDC | Battery | Battery Adv Chem | Pump Storage | Coal | Coal CCS | Hydro Uprate
2024 | 1.35 | 1.1 | 1.1 | 4.22 | 8.12 |  | 6.67 | 0.9 | 5 | 36 | 0.98 | 0.98 | 0.98 |  |  | 2.68 | 2.12 | 19.39 | 2.61
2025 | 1.39 | 1.13 | 1.13 | 4.33 | 8.35 |  | 6.8273 | 0.93 | 5.01 | 42 | 0.99 | 0.99 | 0.99 |  |  | 2.75 | 2.17 | 19.9 | 2.61
2026 | 1.43 | 1.16 | 1.16 | 4.45 | 8.56 |  | 7.0161 | 0.95 | 5.14 | 42 | 1.02 | 1.02 | 1.02 |  |  | 2.83 | 2.23 | 20.46 | 2.61
2027 | 1.47 | 1.2 | 1.2 | 4.57 | 8.81 |  | 7.2049 | 0.98 | 5.29 | 40 | 1.05 | 1.05 | 1.05 |  |  | 2.91 | 2.29 | 21.04 | 2.61
2028 | 1.51 | 1.23 | 1.23 | 4.7 | 9.05 |  | 7.4251 | 1 | 5.44 | 40 | 1.08 | 1.08 | 1.08 |  |  | 2.99 | 2.36 | 21.62 | 2.61
2029 | 1.55 | 1.26 | 1.26 | 4.83 | 9.3 |  | 7.6139 | 1.03 | 5.59 | 39 | 1.11 | 1.11 | 1.11 |  |  | 3.07 | 2.42 | 22.21 | 2.61
2030 | 1.59 | 1.3 | 1.3 | 4.96 | 9.56 |  | 7.8341 | 1.06 | 5.74 | 38 | 1.14 | 1.14 | 1.14 |  |  | 3.15 | 2.49 | 22.8 | 2.61
2031 | 1.63 | 1.33 | 1.33 | 5.08 | 9.81 |  | 8.0543 | 1.09 | 5.89 | 38 | 1.11 | 1.11 | 1.11 |  |  | 3.24 | 2.56 | 23.38 | 2.61
2032 | 1.67 | 1.36 | 1.36 | 5.22 | 10.06 |  | 8.2431 | 1.12 | 6.04 | 37 | 0.81 | 0.81 | 0.81 |  |  | 3.32 | 2.62 | 23.98 | 2.61
2033 | 1.71 | 1.4 | 1.4 | 5.35 | 10.32 |  | 8.4633 | 1.14 | 6.2 | 36 | 0.24 | 0.24 | 0.24 |  |  | 3.4 | 2.69 | 24.6 | 2.61
2034 | 1.76 | 1.43 | 1.43 | 5.49 | 10.59 |  | 8.6836 | 1.17 | 6.36 | 46 | 0.25 | 0.25 | 0.25 |  |  | 3.49 | 2.76 | 25.24 | 2.61
2035 | 1.81 | 1.47 | 1.47 | 5.63 | 10.86 |  | 8.9038 | 1.2 | 6.52 | 45 | 0.26 | 0.26 | 0.26 |  |  | 3.58 | 2.83 | 25.9 | 2.61
2036 | 1.85 | 1.51 | 1.51 | 5.78 | 11.15 |  | 9.1241 | 1.24 | 6.69 | 46 | 0.26 | 0.26 | 0.26 |  |  | 3.68 | 2.9 | 26.59 | 2.61
2037 | 1.9 | 1.55 | 1.55 | 5.94 | 11.44 |  | 9.3758 | 1.27 | 6.87 | 46 | 0.27 | 0.27 | 0.27 |  |  | 3.78 | 2.98 | 27.3 | 2.61
2038 | 1.95 | 1.59 | 1.59 | 6.1 | 11.75 |  | 9.6275 | 1.3 | 7.06 | 46 | 0.28 | 0.28 | 0.28 |  |  | 3.88 | 3.06 | 28.04 | 2.61
2039 | 2.01 | 1.64 | 1.64 | 6.26 | 12.07 |  | 9.8792 | 1.34 | 7.25 | 47 | 0.29 | 0.29 | 0.29 |  |  | 3.98 | 3.14 | 28.79 | 2.61
2040 | 2.06 | 1.68 | 1.68 | 6.43 | 12.39 |  | 10.1623 | 1.37 | 7.44 | 47 | 0.29 | 0.29 | 0.29 |  |  | 4.09 | 3.23 | 29.57 | 2.61
2041 | 2.12 | 1.73 | 1.73 | 6.61 | 12.73 |  | 10.4455 | 1.41 | 7.64 | 47 | 0.3 | 0.3 | 0.3 |  |  | 4.2 | 3.32 | 30.37 | 2.61
2042 | 2.17 | 1.77 | 1.77 | 6.78 | 13.07 |  | 10.7286 | 1.45 | 7.85 | 48 | 0.31 | 0.31 | 0.31 |  |  | 4.32 | 3.41 | 31.2 | 2.61
2043 | 2.23 | 1.82 | 1.82 | 6.97 | 13.43 |  | 11.0118 | 1.49 | 8.06 | 48 | 0.32 | 0.32 | 0.32 |  |  | 4.43 | 3.5 | 32.05 | 2.61
2044 | 2.3 | 1.87 | 1.87 | 7.16 | 13.8 |  | 11.295 | 1.53 | 8.28 | 48 | 0.33 | 0.33 | 0.33 |  |  | 4.56 | 3.59 | 32.93 | 2.61
2045 | 2.36 | 1.93 | 1.93 | 7.37 | 14.18 |  | 11.6096 | 1.57 | 8.51 | 49 | 0.34 | 0.34 | 0.34 |  |  | 4.69 | 3.69 | 33.88 | 2.61
2046 | 2.43 | 1.98 | 1.98 | 7.59 | 14.59 |  | 11.9557 | 1.62 | 8.76 | 49 | 0.35 | 0.35 | 0.35 |  |  | 4.83 | 3.8 | 34.89 | 2.61
2047 | 2.51 | 2.04 | 2.04 | 7.82 | 15.02 |  | 12.3017 | 1.67 | 9.02 | 50 | 0.36 | 0.36 | 0.36 |  |  | 4.97 | 3.91 | 35.95 | 2.61
2048 | 2.58 | 2.11 | 2.11 | 8.06 | 15.48 |  | 12.6793 | 1.72 | 9.29 | 50 | 0.37 | 0.37 | 0.37 |  |  | 5.13 | 4.03 | 37.04 | 2.61
2049 | 2.66 | 2.17 | 2.17 | 8.3 | 15.95 |  | 13.0568 | 1.77 | 9.58 | 50 | 0.38 | 0.38 | 0.38 |  |  | 5.28 | 4.15 | 38.18 | 2.61
2050 | 2.74 | 2.24 | 2.24 | 8.56 | 16.44 |  | 13.4658 | 1.82 | 9.87 | 50 | 0.39 | 0.39 | 0.39 |  |  | 5.45 | 4.28 | 39.36 | 2.61
Note on H3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Time Series is messed up, leaves out January for each year Reply: Wartsilia 18V50DF Reply: Calculation makes use of Coal VOM delta as proxy for O&M Escalation Rate
Note on T3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: No escalations?

## ITC Graph (hidden)
ITC (%)
| AP1000 | BWR SME 1st | BWR SMR Nth | Narirum SMR | Areo CT 20x | Frame CT 4x | RICE 24x | CC 2x1x1 | CC 2x1x1 w/ CCS | Solar | Wind MISO | Wind SE High Hub | Wind HVDC | Battery | Battery Adv Chem | Pump Storage | Coal | Coal CCS | Hydro Uprate | Scenario 5
2024 |  | 0% | 0% | 0% | [5 empty] | 30% | 0% | 0% | 0% | 0% | 0% |  |  |  |  | 50%
2025 |  | 30% | 30% | 30% | [5 empty] | 30% | 30% | 30% | 30% | 30% | 30% |  |  |  |  | 50%
2026 |  | 30% | 30% | 30% | [5 empty] | 30% | 30% | 30% | 30% | 30% | 30% |  |  |  |  | 50%
2027 |  | 30% | 30% | 30% | [5 empty] | 30% | 30% | 30% | 30% | 30% | 30% |  |  |  |  | 50%
2028 |  | 30% | 30% | 30% | [5 empty] | 30% | 30% | 30% | 30% | 30% | 30% |  |  |  |  | 50%
2029 |  | 30% | 30% | 30% | [5 empty] | 30% | 30% | 30% | 30% | 30% | 30% |  |  |  |  | 50%
2030 |  | 30% | 30% | 30% | [5 empty] | 30% | 30% | 30% | 30% | 30% | 30% |  |  |  |  | 50%
2031 |  | 30% | 30% | 30% | [5 empty] | 30% | 30% | 30% | 30% | 30% | 30% |  |  |  |  | 50%
2032 |  | 30% | 30% | 30% | [5 empty] | 30% | 30% | 30% | 30% | 30% | 30% |  |  |  |  | 50%
2033 |  | 30% | 30% | 30% | [5 empty] | 30% | 30% | 30% | 30% | 30% | 30% |  |  |  |  | 50%
2034 |  | 30% | 30% | 30% | [5 empty] | 30% | 30% | 30% | 30% | 30% | 30% | 30% |  |  |  | 50%
2035 |  | 30% | 30% | 30% | [5 empty] | 22.5% | 22.5% | 22.5% | 22.5% | 22.5% | 22.5% | 30% |  |  |  | 50%
2036 |  | 30% | 30% | 30% | [5 empty] | 15% | 15% | 15% | 15% | 15% | 15% | 30% |  |  |  | 50%
2037 |  | 30% | 30% | 30% | [5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 30% |  |  |  | 50%
2038 |  | 30% | 30% | 30% | [11 empty] | 30% |  |  |  | 50%
2039 | 30% | 30% | 30% | 30% | [11 empty] | 30% |  |  |  | 50%
2040 | 30% | 30% | 30% | 30% | [11 empty] | 22.5% |  |  |  | 50%
2041 | 22.5% | 22.5% | 22.5% | 22.5% | [11 empty] | 15% |  |  |  | 50%
2042 | 15% | 15% | 15% | 15% | [11 empty] | 0% |  |  |  | 50%
2043 | 0% | 0% | 0% | 0% | [15 empty] | 50%
2044 | [19 empty] | 50%
2045 | [19 empty] | 50%
2046 | [19 empty] | 50%
2047 | [19 empty] | 50%
2048 | [19 empty] | 50%
2049 | [19 empty] | 50%
2050 | [19 empty] | 50%
Note on B4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For graphing purposes, I filled in 2024 with the 30% ITC rate even though it is not present in that year in Encompass Because none of these models can be built by the end of the calendar year it does not effect model results. Reply: In order to get the lines to show up in shortest to longest order, I've deleted some of the overlapping 30% ITC cells
Note on K4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For graphing purposes, I filled in 2024 with the 30% ITC rate even though it is not present in that year in Encompass Because none of these models can be built by the end of the calendar year it does not effect model results.
Note on Q4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For graphing purposes, I filled in 2024 with the 30% ITC rate even though it is not present in that year in Encompass Because none of these models can be built by the end of the calendar year it does not effect model results.