## Resource Cost Estimates
TVA Final 2026 Integrated Resource Plan
Resource Cost and ITC Estimates (Scenario 1 - Reference)
Updated: | 2026-04-01
NOTES:
- Resource costs incorporate the impacts of applicable tax credits, inflation assumptions, and technology maturity over time, which vary by scenaro.
-Overnight capital costs presented as the first available year cost, de-escalated to 2026 dollars for comparison purposes
- For utility-scale options, TVA utilizes a combination of direct experience with recent projects, market-based request for proposal responses, industry expertise working with equipment manufacturers, and industry forecasts to inform resource costs (See Vol. 1, Section 2.6)
- Distributed generation adoption was modeled based on consumer payback, and demand-side EE and DR resources were modeled based on TVA program experience and the recent potential study (see Vol. 1, Appendices F and G).
- File updated to reflect values included in Final IRP modeling
Nominal Overnight Cost before Investment Tax Credit applied ($/kW) | [18 empty] | Investment Tax Credit Estimate (%) (based on Commercial Operations Date) | [18 empty] | Nominal Overnight Cost with Investment Tax Credit applied ($/kW)
Year | Light Water SMR | Light Water SMR (Nth-of-a-Kind) | APWR | Gen IV SMR | Hydro Uprate | Coal | Coal w/ CCS | RICE (12x) | Aero (20x) | Frame CT (4x) | CC (3x1x1) | CC w/ CCS (2x1x1) | Solar PPA | Midwest Wind | SE High Hub | 4-hr Lithium-Ion Battery | 8-hr Adv Chem | Pumped Storage | Year | Light Water SMR | Light Water SMR (Nth-of-a-Kind) | APWR | Gen IV SMR | Hydro Uprate | Coal | Coal w/ CCS | RICE (12x) | Aero (20x) | Frame CT (4x) | CC (3x1x1) | CC w/ CCS (2x1x1) | Solar PPA | Midwest Wind | SE High Hub | 4-hr Lithium-Ion Battery | 8-hr Adv Chem | Pumped Storage | Year | Light Water SMR | Light Water SMR (Nth-of-a-Kind) | APWR | Gen IV SMR | Hydro Uprate | Coal | Coal w/ CCS | RICE (12x) | Aero (20x) | Frame CT (4x) | CC (3x1x1) | CC w/ CCS (2x1x1) | Solar PPA | Midwest Wind | SE High Hub | 4-hr Lithium-Ion Battery | 8-hr Adv Chem | Pumped Storage
2026$ | 17262.5333 | 8743.2561 | 14234.788 | 9750.9983 | 1818.3642 | 3482.4519 | 4905.4548 | 2305.2983 | 2512.6109 | 1161.0195 | 2148.018 | 3635.425 | 1697.7615 | 1573.7678 | 2205.3186 | 2158.4696 | 3885.5264 | 3191.1261 | [19 empty] | 2026$ | 12083.7733 | 6120.2793 | 9964.3516 | 6825.6988 | 1818.3642 | 3482.4519 | 4905.4548 | 2305.2983 | 2512.6109 | 1161.0195 | 2148.018 | 3635.425 | 1188.4331 | 1101.6375 | 1543.723 | 1510.9287 | 2719.8685 | 2233.7883
2026 | [18 empty] | 2026 | 30% | 30% | 30% | 30% | [8 empty] | 30% | 30% | 30% | 30% | 30% | 30% | 2026
2027 | [18 empty] | 2027 | 30% | 30% | 30% | 30% | [8 empty] | 30% | 30% | 30% | 30% | 30% | 30% | 2027
2028 | [18 empty] | 2028 | 30% | 30% | 30% | 30% | [8 empty] | 30% | 30% | 30% | 30% | 30% | 30% | 2028
2029 | [18 empty] | 2029 | 30% | 30% | 30% | 30% | [8 empty] | 30% | 30% | 30% | 30% | 30% | 30% | 2029
2030 | [18 empty] | 2030 | 30% | 30% | 30% | 30% | [8 empty] | 30% | 30% | 30% | 30% | 30% | 30% | 2030
2031 |  |  |  |  | 1957.0677 | [7 empty] | 1827.2655 | 1693.8136 | 2373.5386 | 2323.116 | 4181.9115 |  | 2031 | 30% | 30% | 30% | 30% | [8 empty] | 30% | 30% | 30% | 30% | 30% | 30% | 2031 |  |  |  |  | 1957.0677 | [7 empty] | 1279.0859 | 1185.6695 | 1661.477 | 1626.1812 | 2927.338
2032 |  |  |  |  | 2000.4314 | 3831.139 |  | 2536.1206 | 2764.1908 | 1277.2688 | 2363.0924 |  | 1812.2284 | 1712.9127 | 2400.9199 | 2374.5904 | 4274.5722 |  | 2032 | 30% | 30% | 30% | 30% | [8 empty] | 0% | 0% | 0% | 30% | 30% | 30% | 2032 |  |  |  |  | 2000.4314 | 3831.139 |  | 2536.1206 | 2764.1908 | 1277.2688 | 2363.0924 |  | 1812.2284 | 1712.9127 | 2400.9199 | 1662.2133 | 2992.2005
2033 | 19211.7621 |  |  |  | 2042.5656 | 3911.8326 | 5510.2895 | 2589.5378 | 2822.4117 | 1304.1714 | 2412.8652 | 4083.667 | 1793.46 | 1732.4011 | 2428.8704 | 2424.6055 | 4364.6058 |  | 2033 | 30% | 30% | 30% | 30% | [8 empty] | 0% | 0% | 0% | 30% | 30% | 30% | 2033 | 13448.2335 |  |  |  | 2042.5656 | 3911.8326 | 5510.2895 | 2589.5378 | 2822.4117 | 1304.1714 | 2412.8652 | 4083.667 | 1793.46 | 1732.4011 | 2428.8704 | 1697.2238 | 3055.224
2034 | 16916.3673 |  |  |  | 2079.6196 | 3982.7969 | 5567.2528 | 2636.5145 | 2873.6129 | 1327.8302 | 2456.6368 | 4114.75 | 1765.6443 | 1751.5456 | 2456.363 | 2468.59 | 4443.7836 |  | 2034 | 30% | 30% | 30% | 30% | [8 empty] | 0% | 0% | 0% | 30% | 30% | 30% | 2034 | 11841.4571 |  |  |  | 2079.6196 | 3982.7969 | 5567.2528 | 2636.5145 | 2873.6129 | 1327.8302 | 2456.6368 | 4114.75 | 1765.6443 | 1751.5456 | 2456.363 | 1728.013 | 3110.6485
2035 | 15264.5108 |  |  |  | 2115.5946 | 4051.6946 | 5619.6703 | 2682.1231 | 2923.323 | 1350.8002 | 2499.1337 | 4142.041 | 1736.1252 | 1770.6624 | 2483.8413 | 2511.2936 | 4520.6558 | 3712.7487 | 2035 | 30% | 30% | 30% | 30% | [8 empty] | 0% | 0% | 0% | 30% | 30% | 30% | 2035 | 10685.1576 |  |  |  | 2115.5946 | 4051.6946 | 5619.6703 | 2682.1231 | 2923.323 | 1350.8002 | 2499.1337 | 4142.041 | 1736.1252 | 1770.6624 | 2483.8413 | 1757.9055 | 3164.459 | 2598.9241
2036 | 14285.6581 |  |  |  | 2153.8041 | 4124.8717 | 5703.1347 | 2730.5646 | 2976.1208 | 1375.1968 | 2544.2703 | 4198.8181 | 1733.4612 | 1790.0808 | 2511.7678 | 2483.0452 | 4469.8049 | 3779.8041 | 2036 | 30% | 30% | 30% | 30% | [8 empty] | 0% | 0% | 0% | 22.5% | 22.5% | 30% | 2036 | 9999.9607 |  |  |  | 2153.8041 | 4124.8717 | 5703.1347 | 2730.5646 | 2976.1208 | 1375.1968 | 2544.2703 | 4198.8181 | 1733.4612 | 1790.0808 | 2511.7678 | 1924.36 | 3464.0988 | 2645.8629
2037 | 15236.8 |  |  |  | 2197.4088 | 4208.3815 | 5800.2892 | 2785.846 | 3036.3736 | 1403.0382 | 2595.7801 | 4265.5171 | 1732.4159 | 1810.2318 | 2540.7482 | 2527.1794 | 4549.2522 | 3856.3278 | 2037 | 30% | 30% | 30% | 30% | [8 empty] | 0% | 0% | 0% | 15% | 15% | 30% | 2037 | 10665.76 |  |  |  | 2197.4088 | 4208.3815 | 5800.2892 | 2785.846 | 3036.3736 | 1403.0382 | 2595.7801 | 4265.5171 | 1732.4159 | 1810.2318 | 2540.7482 | 2148.1025 | 3866.8644 | 2699.4295
2038 | 14264.105 |  | 17393.0225 |  | 2244.7454 | 4299.0386 | 5906.6139 | 2845.8588 | 3101.7833 | 1433.2625 | 2651.6984 | 4338.7797 | 1732.8888 | 1831.4547 | 2571.2601 | 2664.6006 | 4796.6283 | 3939.401 | 2038 | 30% | 30% | 30% | 30% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 30% | 2038 | 9984.8735 |  | 12175.1158 |  | 2244.7454 | 4299.0386 | 5906.6139 | 2845.8588 | 3101.7833 | 1433.2625 | 2651.6984 | 4338.7797 | 1732.8888 | 1831.4547 | 2571.2601 | 2664.6006 | 4796.6283 | 2757.5807
2039 | 13726.4105 |  | 17755.2165 |  | 2293.576 | 4392.5568 | 6016.1328 | 2907.7656 | 3169.2573 | 1464.4407 | 2709.3816 | 4414.193 | 1734.3964 | 1853.8556 | 2603.4546 | 2722.5645 | 4900.9708 | 4025.0959 | 2039 | 30% | 30% | 30% | 30% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 30% | 2039 | 9608.4873 |  | 12428.6515 |  | 2293.576 | 4392.5568 | 6016.1328 | 2907.7656 | 3169.2573 | 1464.4407 | 2709.3816 | 4414.193 | 1734.3964 | 1853.8556 | 2603.4546 | 2722.5645 | 4900.9708 | 2817.5671
2040 | 13285.8202 |  | 18116.0438 |  | 2344.7563 | 4490.575 | 6130.8976 | 2972.6512 | 3239.978 | 1497.1191 | 2769.8404 | 4493.2111 | 1734.0606 | 1877.3274 | 2637.1833 | 2783.3174 | 5010.334 | 4114.9144 | 2040 | 30% | 30% | 30% | 30% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 30% | 2040 | 9300.0741 |  | 12681.2307 |  | 2344.7563 | 4490.575 | 6130.8976 | 2972.6512 | 3239.978 | 1497.1191 | 2769.8404 | 4493.2111 | 1734.0606 | 1877.3274 | 2637.1833 | 2783.3174 | 5010.334 | 2880.4401
2041 | 11354.0167 | 11354.0167 | 18485.3352 | 12662.6735 | 2397.8854 | 4592.3256 | 6249.8038 | 3040.0076 | 3313.3917 | 1531.0419 | 2832.6014 | 4575.0095 | 1735.1452 | 1901.3836 | 2671.7648 | 2846.3838 | 5123.8617 | 4208.153 | 2041 | 30% | 30% | 30% | 30% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 30% | 2041 | 7947.8117 | 7947.8117 | 12939.7347 | 8863.8714 | 2397.8854 | 4592.3256 | 6249.8038 | 3040.0076 | 3313.3917 | 1531.0419 | 2832.6014 | 4575.0095 | 1735.1452 | 1901.3836 | 2671.7648 | 2846.3838 | 5123.8617 | 2945.7071
2042 | 11593.7939 | 11593.7939 | 18875.7135 | 12930.0872 | 2453.2196 | 4698.2993 | 6373.6389 | 3110.1596 | 3389.8524 | 1566.3726 | 2897.9672 | 4660.1966 | 1734.1378 | 1926.0169 | 2707.1904 | 2912.0678 | 5242.1015 | 4305.2614 | 2042 | 22.5% | 22.5% | 22.5% | 22.5% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 22.5% | 2042 | 8985.1902 | 8985.1902 | 14628.678 | 10020.8176 | 2453.2196 | 4698.2993 | 6373.6389 | 3110.1596 | 3389.8524 | 1566.3726 | 2897.9672 | 4660.1966 | 1734.1378 | 1926.0169 | 2707.1904 | 2912.0678 | 5242.1015 | 3336.5776
2043 | 11837.1633 | 11837.1633 | 19271.9403 | 13201.5073 | 2511.6029 | 4810.1124 | 6504.381 | 3184.1772 | 3470.5262 | 1603.6501 | 2966.9349 | 4750.1612 | 1733.5669 | 1951.1548 | 2743.3598 | 2981.3709 | 5366.8561 | 4407.7207 | 2043 | 15% | 15% | 15% | 15% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 15% | 2043 | 10061.5888 | 10061.5888 | 16381.1492 | 11221.2812 | 2511.6029 | 4810.1124 | 6504.381 | 3184.1772 | 3470.5262 | 1603.6501 | 2966.9349 | 4750.1612 | 1733.5669 | 1951.1548 | 2743.3598 | 2981.3709 | 5366.8561 | 3746.5626
2044 | 12088.6197 | 12088.6197 | 19681.3334 | 13481.9464 | 2572.1783 | 4926.1238 | 6639.9074 | 3260.9739 | 3554.2292 | 1642.3273 | 3038.4921 | 4843.3789 | 1734.6646 | 1976.8009 | 2780.2796 | 3053.2762 | 5496.295 | 4514.0271 | 2044 | 0% | 0% | 0% | 0% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 2044 | 12088.6197 | 12088.6197 | 19681.3334 | 13481.9464 | 2572.1783 | 4926.1238 | 6639.9074 | 3260.9739 | 3554.2292 | 1642.3273 | 3038.4921 | 4843.3789 | 1734.6646 | 1976.8009 | 2780.2796 | 3053.2762 | 5496.295 | 4514.0271
2045 | 12343.0185 | 12343.0185 | 20095.517 | 13765.6671 | 2633.7164 | 5043.9789 | 6776.9989 | 3338.9911 | 3639.2624 | 1681.6192 | 3111.1865 | 4937.4893 | 1732.3941 | 2002.6936 | 2817.5835 | 3126.3243 | 5627.7912 | 4622.023 | 2045 | 0% | 0% | 0% | 0% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 2045 | 12343.0185 | 12343.0185 | 20095.517 | 13765.6671 | 2633.7164 | 5043.9789 | 6776.9989 | 3338.9911 | 3639.2624 | 1681.6192 | 3111.1865 | 4937.4893 | 1732.3941 | 2002.6936 | 2817.5835 | 3126.3243 | 5627.7912 | 4622.023
2046 | 12597.9679 | 12597.9679 | 20510.597 | 14050.0018 | 2694.8055 | 5160.974 | 6911.8355 | 3416.439 | 3723.6751 | 1720.6244 | 3183.3506 | 5029.6585 | 1729.7205 | 2028.548 | 2854.8717 | 3198.8394 | 5758.3278 | 4729.2309 | 2046 | 0% | 0% | 0% | 0% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 2046 | 12597.9679 | 12597.9679 | 20510.597 | 14050.0018 | 2694.8055 | 5160.974 | 6911.8355 | 3416.439 | 3723.6751 | 1720.6244 | 3183.3506 | 5029.6585 | 1729.7205 | 2028.548 | 2854.8717 | 3198.8394 | 5758.3278 | 4729.2309
2047 | 12853.7928 | 12853.7928 | 20927.1024 | 14335.3129 | 2755.0225 | 5276.2989 | 7043.348 | 3492.7813 | 3806.8827 | 1759.0727 | 3254.4843 | 5119.1127 | 1722.0616 | 2054.4299 | 2892.2379 | 3270.3194 | 5887.0011 | 4834.9082 | 2047 | 0% | 0% | 0% | 0% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 2047 | 12853.7928 | 12853.7928 | 20927.1024 | 14335.3129 | 2755.0225 | 5276.2989 | 7043.348 | 3492.7813 | 3806.8827 | 1759.0727 | 3254.4843 | 5119.1127 | 1722.0616 | 2054.4299 | 2892.2379 | 3270.3194 | 5887.0011 | 4834.9082
2048 | 13111.4139 | 13111.4139 | 21346.532 | 14622.6272 | 2816.5417 | 5394.1179 | 7177.1233 | 3570.7746 | 3891.8899 | 1798.3525 | 3327.1565 | 5209.9201 | 1715.3802 | 2080.4643 | 2929.8593 | 3343.3453 | 6018.4572 | 4942.8711 | 2048 | 0% | 0% | 0% | 0% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 2048 | 13111.4139 | 13111.4139 | 21346.532 | 14622.6272 | 2816.5417 | 5394.1179 | 7177.1233 | 3570.7746 | 3891.8899 | 1798.3525 | 3327.1565 | 5209.9201 | 1715.3802 | 2080.4643 | 2929.8593 | 3343.3453 | 6018.4572 | 4942.8711
2049 | 13378.196 | 13378.196 | 21780.8767 | 14920.1584 | 2880.6082 | 5516.8152 | 7316.3071 | 3651.9972 | 3980.4167 | 1839.2588 | 3402.8376 | 5304.3569 | 1706.1861 | 2106.6184 | 2967.6907 | 3419.3947 | 6155.356 | 5055.304 | 2049 | 0% | 0% | 0% | 0% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 2049 | 13378.196 | 13378.196 | 21780.8767 | 14920.1584 | 2880.6082 | 5516.8152 | 7316.3071 | 3651.9972 | 3980.4167 | 1839.2588 | 3402.8376 | 5304.3569 | 1706.1861 | 2106.6184 | 2967.6907 | 3419.3947 | 6155.356 | 5055.304
2050 | 13646.4042 | 13646.4042 | 22217.5432 | 15219.2801 | 2946.8186 | 5643.6185 | 7459.8185 | 3735.9379 | 4071.9061 | 1881.5339 | 3481.0514 | 5401.6238 | 1696.1947 | 2132.9404 | 3005.8014 | 3497.9892 | 6296.8363 | 5171.4996 | 2050 | 0% | 0% | 0% | 0% | [8 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 2050 | 13646.4042 | 13646.4042 | 22217.5432 | 15219.2801 | 2946.8186 | 5643.6185 | 7459.8185 | 3735.9379 | 4071.9061 | 1881.5339 | 3481.0514 | 5401.6238 | 1696.1947 | 2132.9404 | 3005.8014 | 3497.9892 | 6296.8363 | 5171.4996